Development and Characterization of Textile-Electrode Electroencephalogram (EEG) Systems for Brain-Computer Interfaces

The objective of this thesis is to advance the development of a wearable electroencephalography (EEG) system using textile-based electrodes for signal acquisition over hair-covered regions and regions where the skin is exposed directly. The project encompasses both hardware and software development, with a focus on prototyping pre-amplifier circuits for textile electrodes and designing computational methods for processing these recorded textile-based EEG signals.

A pre-amplifier circuit will be prototyped and tested to specifically improve signal acquisition from textile electrodes. Afterwards, digital signal processing methods will be implemented to filter and enhance textile-based EEG signals. Models will be developed to mitigate noise, improve signal-to-noise ratio, and optimize classification performance in BCI applications. The combined hardware and software system’s performance will be characterized and benchmarked against gold-standard clinical EEG electrodes in both simple experimental paradigms and established brain–computer interface (BCI) tasks.

This study aims to demonstrate the technical feasibility of textile-based EEG for wearable BCI applications and its research outcomes are expected to contribute both to academic knowledge and to potential commercialization efforts in collaboration with industry partners. Findings will support the preparation of a publication detailing textile electrode validation, EEG signal amplifier design, and software-based signal filtering, with future applications extending toward wearable BCI systems and clinical use cases.